# TENDER OFFER — TP-007 ELV, BMS/DCIM, FIRE DETECTION & SUPPRESSION

From: Fintronic Systems Oy

Our reference: FS-2218

To: NordBuild Oy

Project: Polaris DC-1 — Aviapolis Data Campus, Phase 1, Vantaa

Date: 19 March 2026

Validity: 90 days

Synthetic demonstration data. All parties and values are fictional.

____________________________________________________________

## 1. OFFER

We are pleased to offer for the above package on the basis of the documents issued with your enquiry.

| Item | Value |
| --- | --- |
| Tender sum (excluding VAT) | EUR 5,183,640 |
| Currency | EUR |
| Programme, instruction to completion | 38 weeks |
| Validity | 90 days from the date of this offer |
| Form of subcontract | YSE 1998, subject to section 4 below |

## 2. INCLUSIONS

Aspirating smoke detection to white space and addressable detection elsewhere

Gaseous or water-mist suppression to the data halls, subject to fire engineering approval by the authority

Sprinklers and dry risers to ancillary areas

BMS with BACnet/IP open protocol and DCIM reporting

Access control (five layers), CCTV with 90-day retention

Structured cabling, meet-me room and containment

## 3. EXCLUSIONS

None. Our tender sum covers the full scope of the enquiry.

## 4. QUALIFICATIONS

Includes inert gas suppression to white space and support for the fire engineering approval submission

BACnet/IP open protocol confirmed; DCIM licences for 24 months of historical trending per the ER

## 5. EXCEPTIONS TO THE FLOW-DOWN TERMS

| Item | Our position | Note |
| --- | --- | --- |
| Payment | 30 days | Acceptable |
| Liability cap | Subcontract sum | Acceptable |
| Defects period | 24 months | Back-to-back |

## 6. PROGRAMME AND LEAD TIMES

We require 38 weeks from instruction to completion of our works, sequenced to suit your sectional completion dates.

Long-lead items are stated in our qualifications above where relevant.

## 7. SIGNATURE

For and on behalf of Fintronic Systems Oy

Signed: ..............................  Date: 19 March 2026