## Priced Schedule
PRICED SCHEDULE — TP-005 Mechanical — Chillers, Dry Coolers, CRAH & Pipework
Kylmä-Nordic Oy · our ref KN-4408 · 19 March 2026
SYNTHETIC DEMONSTRATION DATA — NOT A REAL PROJECT
Item | Description | Included | Amount (EUR)
TP-005.01 | Chillers (4 nr, N+1) and dry coolers / adiabatic units (10 nr) | Yes | 3836963.72
TP-005.02 | CRAH units, 7 per hall (N+1) | Yes | 2398102.33
TP-005.03 | Chilled water pipework, pumps, buffer vessels and glycol dosing | Yes | 2398102.33
TP-005.04 | Waste-heat recovery plant, not less than 4 MW at not less than 70 C flow, to the site boundary chamber | EXCLUDED | 0
TP-005.05 | Ventilation, smoke extract and comfort cooling to ancillary areas | Yes | 2398102.33
TP-005.06 | Water treatment and adiabatic make-up within WUE <= 0.25 L/kWh | EXCLUDED | 0
TP-005.07 | Free cooling not less than 8,300 hours per year | Yes | 2398102.33
TP-005.08 | Mechanical commissioning support to L4 and L5 | EXCLUDED | 0
TP-005.09 | Balance of scope, preliminaries and overheads | Yes | 7194306.98
| TENDER SUM (EXCLUDING VAT) |  | 20623680
EXCLUSIONS (not in the tender sum)
Waste-heat recovery plant excluded
L5 integrated load-bank testing support excluded
Water treatment and adiabatic make-up excluded