## Priced Schedule
PRICED SCHEDULE — TP-005 Mechanical — Chillers, Dry Coolers, CRAH & Pipework
Ilmatek LVI Oy · our ref IL-7729 · 19 March 2026
SYNTHETIC DEMONSTRATION DATA — NOT A REAL PROJECT
Item | Description | Included | Amount (EUR)
TP-005.01 | Chillers (4 nr, N+1) and dry coolers / adiabatic units (10 nr) | Yes | 4146396.28
TP-005.02 | CRAH units, 7 per hall (N+1) | Yes | 2591497.67
TP-005.03 | Chilled water pipework, pumps, buffer vessels and glycol dosing | Yes | 2591497.67
TP-005.04 | Waste-heat recovery plant, not less than 4 MW at not less than 70 C flow, to the site boundary chamber | Yes | 2591497.67
TP-005.05 | Ventilation, smoke extract and comfort cooling to ancillary areas | Yes | 2591497.67
TP-005.06 | Water treatment and adiabatic make-up within WUE <= 0.25 L/kWh | Yes | 2591497.67
TP-005.07 | Free cooling not less than 8,300 hours per year | Yes | 2591497.67
TP-005.08 | Mechanical commissioning support to L4 and L5 | Yes | 2591497.67
| TENDER SUM (EXCLUDING VAT) |  | 22286880