## Priced Schedule
PRICED SCHEDULE — TP-006 Electrical — HV/MV, Transformers, UPS & Generators
Nordkraft Installation AS · our ref NKI-5520 · 19 March 2026
SYNTHETIC DEMONSTRATION DATA — NOT A REAL PROJECT
Item | Description | Included | Amount (EUR)
TP-006.01 | 110 kV termination, metering and protection to the DNO interface | Yes | 4827900
TP-006.02 | 110/20 kV transformers (2 nr, 16 MVA, N+1) | Yes | 3017437.5
TP-006.03 | 20 kV ring main switchboard and protection relays | Yes | 3017437.5
TP-006.04 | Hall substations 20/0.4 kV (4 nr, 3.3 MVA) | Yes | 3017437.5
TP-006.05 | Standby generators (8 nr, 2.5 MVA) with acoustic enclosures, paralleling, ATS and 48-hour fuel system | Yes | 3017437.5
TP-006.06 | UPS modules (16 nr, 1000 kVA, N+1) and battery systems | Yes | 3017437.5
TP-006.07 | LV switchboards, overhead busway, containment and small power | Yes | 3017437.5
TP-006.08 | Earthing, bonding, lightning protection and energy metering | Yes | 3017437.5
TP-006.09 | Electrical commissioning support to L4 and L5 | Yes | 3017437.5
| TENDER SUM (EXCLUDING VAT) |  | 28967400